## Sheet1
Private kWh non utility meter validation record
Building Name | [5 empty] | Date of validation
Building Address | [5 empty] | Contact phone number
Name of person undertaking the validation | [5 empty] | Qualification and / or licence number
Meter name / number | Meter location | Item / area metered | Confirmation that the meter does record the supply to item / area it is noted as recording |  | Meter model type | CTs connected | CT wiring is not reversed | CTs are matched to the correct voltage phase | CTs wiring is in the correct sequence | Potential fuses are present and not faulty
CT ratio | Meter multiplier: K factor; or meter factor | Measured power A phase circuit current | Measured power B phase circuit current | Measured power C phase circuit current | Measured CT A phase circuit current | Measured CT B phase circuit current | Measured CT C phase circuit current | kWh reading | Current demand reading | Maximum demand reading
Signed by the person undertaking the validation that the above information is correct and the associated meter has been validated